## Draft 1 (hidden)
[PROJECT NAME] | [6 empty] | Prepared By
Report Date
EXECUTIVE SUMMARY
LOCATION
Address
BBL
Lot Dimension/Area
Zoning
Land Use
Community Board District
BUILDING INFORMATION
DOB BIN #
Year Built (C of O Date)
Occupancy Type
Number of Floors
Footprint of Bulding
Building Square Footage |  | Net Square Feet |  |  | Heated Square Feet
|  | Residential |  |  | Heated
|  | Commercial |  |  | Unheated
|  | Community |  |  | Total
Total
Units and Square Feet |  | Commercial Unit Square Feet |  |  | Residential Unit Counts and Tenure
[6 empty] | Occupied |  | Vacant | Total
|  | Unit 1 |  |  | Studio
|  | Unit 2 |  |  | 1 Bedroom
|  | Unit 3 |  |  | 2 Bedroom
|  | Unit 4 |  |  | 3 Bedroom
|  | Unit 5 |  |  | 4 Bedroom
|  | Unit 6 |  |  | 5 Bedroom
|  | Total |  |  | Total
Construction Type
Building Envelope
Fuel Type
[6 empty] | Open |  | Total
Violations |  | HPD A |  |  | Complaints
|  | HPD B |  |  | DOB
|  | HPD C |  |  | ECB
SITE INSPECTION
Sidewalk |  | Condition
Curbs |  | Condition
Yard / Courtyard Concrete |  | Condition
Area / Yard Drains |  | Condition and Quantity
Ramps |  | Condition, Length, and Location
Stoop and Stairs |  | Condition
Areaway / Sidewalk Grates |  | Condition and Quantity
Landscaping |  | Type and Location
Wrought Iron Fence/Gates |  | Condition and Location
Fences |  | Condition and Location
Debris
Exterior Stairs |  | Condition, Location, and Material
Site Inspection Notes
BUILDING ENVELOPE
Structure |  | Component Description
Foundation
Entry Floor
Typical Floor
Exterior Wall
Roof Deck
Structure Notes
Exterior Walls |  | Condition and Cladding Material
Roof |  | Component Material
Type
Membrane
Entry Floor
Insulation
Coatings
Flashings
Area (SF)
| Chimney | Condition
| Parapet | Condition
| Gutters / Drains | Condition
Roof Notes
Windows |  | Description and Quantity
|  |  | Description |  |  | Quantity
In-Unit
Common Area
Bulkhead
Total
Window Notes
Exterior Structures
| Fire Escape | Condition
| Metal Stairs | Condition and Location
| Overhang | Condition and Location
Exterior Structure Notes
Exterior Doors |  | Component Description
|  |  | Description |  |  | Quantity
Front
Basement
Bulkhead
Other
Exterior Door Notes
INTERIOR COMMON AREA
Common Areas |  | Common Area Materials
|  |  | Floor Material |  |  | Wall Material
Vestibule
Lobby
Stairs
Typical Floor
Other Common Space
| Other Common Area | Description
| Landing | Dimensions and Description
Electrical |  | Common Area Electrical Conditions
|  |  | Fixtures (#) | Switches (#) |  | Outlets (#) |  | General Conditions / Wiring
Vestibule
Lobby
Stairs
Typical Landing
Hallways
| Electrical Panel | Number of 20 AMP and 15 AMP Circuits
Basement / Cellar
Mailboxes
Common Area Notes
APARTMENTS
Apartments Inspected
|  |  | Unit |  |  | Unit Size
Entryway |  | General Conditions
|  |  | Material |  |  | Condition
Walls
Floor
Ceiling
Doors
Living / Dining Room |  | General Conditions
|  |  | Material |  |  | Condition
Walls
Floor
Ceiling
Doors
Bathroom(s) |  | General Conditions
|  |  | Material |  |  | Condition
Walls
Floor
Ceiling
Doors
Plumbing Fixtures
|  |  | Description |  |  | GPM / GPF
Toilet
Sink / Vanity
Tub / Shower
Other
Bathroom Notes
Kitchen |  | General Conditions
|  |  | Material |  |  | Condition
Walls
Floor
Ceiling
Doors
| Cabinets | Material and Condition
| Countertops | Material and Condition
Appliances
|  |  | Descripton |  |  | Make / Model
Refrigerator
Stove / Range
Dishwasher
Other
Plumbing
|  |  | Description |  |  | GPM
Sink / Faucet
Other
Kitchen Notes
Electrical |  | Apartment Electrical Conditions
|  |  | Fixtures (#) | Switches (#) |  | Outlets (#) |  | General Conditions / Wiring
Entryway
Living / Dining
Bathroom
Bedroom
Hallway
| Electrical Panel | Number of 20 AMP and 15 AMP Circuits
Apartment Notes
BUILDING SYSTEMS
Heating Generation
Fuel Type
Boiler Efficiency
Space Heating
|  |  | Make | Model |  | Quantity
Boiler
Burner
Burner Controls
Pumps
Air Separator
Expansion Tank
Heating Generation Notes
Heating Distribution
| In-Unit Heating Type | Type and Condition
| Piping | Material and Condition
| Pipe Insulation | Material and Condition
Heating Distribution Notes
Domestic Hot Water (DHW)
|  |  | Make | Model |  | Quantity |  | Size
Heater
Storage Tank
Recirculation Pumps
Expansion Tank
Electrical |  | ???
Elevator
Quantity
Manufacturer
| Cab | Condition
| Cab Door | Condition
| Hall Door | Condition
| Interlocks | Condition
| Cables (Hoist) | Condition
| Cables (Governor) | Condition
| Machine | Condition
| Controller | Condition
Other Systems
|  |  | Make / Model |  |  | Condition
Compactor
Intercom
Other
Building System Notes
ENVIRONMENTAL
Asbestos Suspected Materials
Boiler
DHW Heater
DHW Tank
Pipe Covering
Insulation
Lead-Based Paint Suspected
In-Unit
Common Area
Fire Escape
Entryway
Exterior

## Instructions
INTEGRATED PHYSICAL NEEDS ASSESSMENT
Version 1.0
General Instructions
1. | Firms are required to use this template for their reports.
2. | Firms are required to provide with a copy of the report in Excel.
3. | Follow the instructions in red at the right of sections and sub-sections.
4. | Enter N/A or leave as blank if a particular field does not apply.
5. | Always provide a justification or explanation within "Narrative / Recommendations" windows located at the bottom of each section for any field entered "N/A" or left as blank.
6. | Provide recommendations for energy efficiency and water conservation measures with associated payback period. Recommendations for energy efficiency and water conservation
should not be limited to only low-cost measures; include all applicable energy/water conservation measures, and where feasible deeper retrofit measures including on-site
renewables.
7. | For multi-building projects, show inspection and audit findings on a per building basis.
8. | Do not change or edit cells shaded in gray.
9. | Include page numbers when submitting the report.
10. | Provide a separate attachment with photos from the assessement.
11. | To print the report (or save to PDF), click on the Cover Page tab, hold the shift and control keys, and then click on all other tabs to select them (except this instructions tab).
Then print to a printer, or print to a PDF. Make sure to un-select the tabs after printing, by clicking on a free tab (such as this Instructions tab).

## Cover Page
Integrated Physical Needs Assessment (IPNA)
(Photo of building)
| Building: | <address>
(Company Logo)

## Executive Summary
EXECUTIVE SUMMARY
Project/Building Name (if any) or Address(es)
# of Buildings
# of Units
Report Prepared For
Report prepared by
Needs Assessor
Efficiency Assessor
Reviewed By
Additional attendees during site visit (super, etc.)
Date of Site Visit
Date of Report
Date of Revised Report
| Improvement | Estimated Replacement Cost ($) | Estimated Annual Utility Cost Savings ($/yr) | Potential Health Benefit (yes/no) | Urgency
A: Critical B: Short Term (<12 months) C: Long term (1 to 15 years)

## Executive Summary Cont'd
EXECUTIVE SUMMARY CONTINUED
Scope (major elements per ASTM E2018) | Condition
| Poor | Average | Good | Not Applicable | Responsibility | Notes
Site (except lighting) |  |  |  |  | Needs Assessor
Structural Frame and Building Envelope (except windows and insulation) |  |  |  |  | Needs Assessor
Windows and Insulation |  |  |  |  | Efficiency Assessor | EA is responsible for all aspects of windows, including function, not only energy aspects
Roofing (except insulation) |  |  |  |  | Needs Assessor
Plumbing (except domestic hot water) |  |  |  |  | Needs Assessor
Domestic Hot Water |  |  |  |  | Efficiency Assessor
Heating |  |  |  |  | Efficiency Assessor
Air Conditioning |  |  |  |  | Efficiency Assessor
Ventilation |  |  |  |  | Efficiency Assessor
Electrical (except lighting) |  |  |  |  | Needs Assessor | Includes electrical service, panels, distribution within the building, and elements such as receptacles.
Lighting (including controls and site lighting |  |  |  |  | Efficiency Assessor
Vertical Transportation |  |  |  |  | Needs Assessor
Life Safety / Fire Protection |  |  |  |  | Needs Assessor
Interior Elements |  |  |  |  | Needs Assessor | From ASTM Standard 2018-15: "8.4.10.1 Observe typical common areas including, but not limited to, lobbies, corridors, assembly areas, and restrooms. Identify and observe typical finishes, that is, flooring, ceilings, walls, etc., and material building amenities or special features, that is spas, fountains, clubs, shops, restaurants, etc."
MAINTENANCE OVERVIEW
Maintenance and/or janitorial contracts:
Maintenance issues:
Maintenance processes, procedures, strategies:
ACCESSIBILITY
Existing accessibility:
Outstanding issues:
VIOLATIONS
Open violations:
IMPLEMENTATION
Many resources are available to assist developers in proceeding to implement recommendations
in this Integrated Physical Needs Assessment, to upgrade our low and moderate income housing
stock, to reduce energy and water use, and improve health and safety in them.
Housing finance agencies provide guidance and oversight for renovation projects, and can
provide access to financial resources such as tax credits.
Financing can be provided through organizations that specialize in low and moderate income
housing, such as CPC and NYCEEC, as well as by traditional banks.
In New York City, The NYC Retrofit Accelerator offers free, personalized advisory services
that streamline the process of making energy efficiency improvements to your building that
will reduce operating costs, enhance tenant comfort, and improve our environment.
nyc.gov/retrofitaccelerator
Across New York State, NYSERDA provides a variety of services and support for energy projects.
Electric and gas utilities are also under mandate to support energy projects with a variety
of incentives.

## Objective & Limitations
OBJECTIVE, PROCEDURES, AND LIMITATIONS
OBJECTIVE
Background:
An Integrated Physical Needs Assessment (IPNA) combines the traditional PNA with an energy audit.
A physical needs assessment (PNA) identifies building deficiencies and makes recommendations for improvements. These recommendations are accompanied by an implementation timeline and overall cost of each improvement.
An energy audit is an assessment of water and energy savings improvements, their estimated cost, and annual cost savings.
Focus:
The end goals of the IPNA are to:
• | Identify needed improvements for the building
• | Provide expected costs of improvements, with the addition of cost savings for energy and water improvements, to allow prioritization of improvements for capital planning purposes
• | Reduce overall energy and water consumption within the building with suggestions from the results of the energy audit
• | Support the search and acquisition of financing (loans) and funding (grants and tax credits)
• | Identify needed improvements to the operations, quality, energy and water efficiency of the building, including identifying components nearing the end of their useful life, before they fail
PROCEDURES
1. | A visual survey was conducted from basement to roof, including, but not limited to, the following: site and public elements; structural frame and building envelope; insulation and roof/wall cavities; mechanical, electrical, and plumbing systems and utilities; life safety/fire protection equipment; and interior elements. This survey included the inspection of 3 units or 10% of the total project’s dwelling units, whichever is greater. Units were inspected that contain varying characteristics and conditions, including location (ground floor, top floor, basement, exposed edge and corner units) as well as type, size, and history of rehabilitation.
2. | Pertinent documentation was reviewed, including violations issued, Certificate of Occupancy, architectural drawings, maintenance logs, O&M plans, and certifications of training for building maintenance staff.
3. | A review of energy and water consumption was conducted, as provided in 24 months of consecutive energy and water billing statements.
4. | Interviews were conducted with the property owner and management and maintenance staff, as well as a review of existing O&M logs.
5. | The energy assessment sought to identify a minimum of 30% energy savings. Energy calculations were interactively calculated, to avoid "double-dipping" of savings.
LIMITATIONS
• | Evaluation of building consists of visual inspection of readily-accessible locations
• | No special testing occurs, beyond what can be measured with human faculties
• | The report represents an extrapolation and is not technically exhaustive, being limited to a specific point in time and not without uncertainty (per ASTM E 2018-15)

## Building Info
General Instructions / Definitions / Notes
1. | MULTI-BUILDING PROJECTS: Show building information on a per building basis
2. | The IPNA is intended to be used across NYS. References to NYC requirements do not preclude its use outside of NYC.
3. | We provide the basis of the gross area ("as defined by EPA Portfolio Manager") to comply with ASTM 2018, which asks for the basis of the gross area if we do not use the BOMA definition.
BUILDING INFORMATION
LOCATION
Address
City
Zip Code
Borough (NYC only)
Block (NYC only)
Lot (NYC only)
Year Built
Owner type (rental or coop/condo)
Non-profit owner?
Landmarked Building(s)?
Is project in a historic district?
Number of Above-Ground Floors
Date of Last FISP (formerly LL 11/98) Report (if applicable)
Building Gross Area (SF)
(as defined by EPA Portfolio Manager)
Construction Type
Flood Zone
RESIDENTIAL UNIT COUNTS AND TENURE
|  | Occupied |  | Vacant |  | Total
| Studio |  |  |  |  | 0
| 1 Bedroom |  |  |  |  | 0
| 2 Bedroom |  |  |  |  | 0
| 3 Bedroom |  |  |  |  | 0
| 4 Bedroom |  |  |  |  | 0
| 5 Bedroom |  |  |  |  | 0
| Commercial Spaces |  |  |  |  | 0
| Total | 0 |  | 0 |  | 0
VIOLATIONS NARRATIVE
| Violation Type | Issuing agency | Date of Violation | Description of violation | Would the recommended scope address this violation? |  | Cost

## Inspection - Physical Needs
Instructions / Definitions / Notes
1. | Multi-Building Projects: Show inspection findings on a per building basis.
2. | Elaborate on conditions and provide recommended scope items in the "Narrative / Recommendations" window at the bottom of each section.
3. | Submit photos of findings in a separate attachment.
4. | The Needs Assessor (firm or individual qualified to perform the physical needs assessment) should conduct this portion of the IPNA. For qualifications
requirements, see the IPNA Standard.
INSPECTION - STRUCTURAL
SITE INSPECTION
Sidewalk
Curbs
Yard / Courtyard Concrete
Area / Yard Drains
Ramps
Stoop and Stairs
Areaway / Sidewalk Grates
Fire Passages
Landscaping
Wrought Iron Fence/Gates
Fences: Chain Link
Debris
Exterior Stairs
Trash Enclosures
Open Space / Playground
Site Inspection Narrative / Recommendations
STRUCTURE INSPECTION
|  | Material |  | Condition
Foundation
Entry Floor
Typical Floor
Exterior Wall
Roof Deck
Structure Narrative / Recommendations
ROOF INSPECTION
|  | Material |  | Condition
Exterior Walls
Roof
Type
Membrane
Entry Floor
| Insulation | See "Inspection - Energy and Water"
Coatings
Flashings / Pitch Pockets
Chimney
Parapets
Roof Railings
Dumbwaiter/Shafts
Bulkhead(s)
Vents
Roof Drainage
Bulkhead Drainage
| Estimated Annual Solar Access |  |  | *Provide shade percentage; include 100% if there is no shade.
| Sources of Shade |  |  | Describe shade sources, including near shade (e.g. bulkhead or chimney) and far shade (e.g. trees)
| Estimated Usable Roof Area for Solar (sq ft) |  |  | *Visit the NY Solar Map at www.nysolarmap.com for an automated estimate of usable roof area and solar potential.
Roof Narrative / Recommendations
EXTERIOR STRUCTURE INSPECTION
Exterior Structures
Fire Escape
Metal Stairs
Overhang
Exterior Structure Narrative / Recommendations
EXTERIOR STRUCTURE INSPECTION
Exterior Doors
|  | Quantity | Description
Main Entrance
Vestibule
Basement / Cellar
Bulkhead
Other
Exterior Door Narrative / Recommendations
INTERIOR COMMON AREA
Common Areas
Vestibule
Lobby
Stairs
Typical Floor
Doors
Landing
Other
Electrical
|  | Fixtures (#) | Switches (#) | Outlets (#) | General Conditions / Wiring
Vestibule
Lobby
First Floor
Other Location
Other Location
Health-Related Concerns (with particular focus on basement)
see Health Questionnaire tab and Healthy Rehab Interventions tabs for details
Pests
Air Quality & Ventilation
Moisture & Mold
Toxic Materials
Aesthetics, Active Design, Quality
Fall/Trip/Fire Hazards
Interior Common Area Narrative / Recommendations
APARTMENTS
Apartments Inspected
|  | Unit | Unit Size | Occupied (Y/N)
Entryway
|  | Material |  | Condition
Walls
Floor
Ceiling
Doors
Intercom Panel
Entryway Narrative / Recommendations
Living / Dining Room
|  | Material |  | Condition
Walls
Floor
Ceiling
Doors
Living/Dining Narrative/Recommendations
Bathroom(s)
|  | Material |  | Condition
Walls
Floor
Ceiling
Doors
Toilet
Sink / Vanity
Tub / Shower
Other
Bathroom Narrative / Recommendations
Kitchen
|  | Material |  | Condition
Walls
Floor
Ceiling
Doors
Cabinets
Countertops
| Refrigerator | See "Inspection - Energy and Water"
| Stove / Range | See "Inspection - Energy and Water"
| Dishwasher | See "Inspection - Energy and Water"
Other
Sink / Faucet
Kitchen Narrative / Recommendations
Electrical
Test only in-unit lighting levels on fixtures maintained by site staff
|  | Fixtures (#) | Switches (#) | Outlets (#) | General Conditions / Wiring
Entryway
Living / Dining
Bathroom
Bedroom
Hallway
| Electrical Panel | Number of 20 AMP and 15 AMP Circuits
Electrical Narrative / Recommendations
Health-Related Concerns
see Health Questionnaire tab and Healthy Rehab Interventions tabs for details
Air Contaminants or Allergens From Interior Sources
Air Contaminants or Allergens From Exterior Sources
Moisture
Pests
Hazardous Materials
Active Design Opportunities
Fall/Trip/Fire Hazards
PLUMBING
|  | Description |  | Condition
Water Services
Sanitary Waste
Storm Waste
Sump Pumps
House Trap(s)
Water/Waste Leaks
Plumbing Narrative / Recommendations
ELECTRICAL
| Point of Service | 1-Phase 3-Wire, 3-Phase 4-Wire
| Meter Bank Location | Size (amps)
| Service Size | 15, 20, 40, or 60 amp breakers
Main Fuse Disconnect
Distribution Panel
Emergency Lighting
Wiring
Intercom
| Other Elec. Util. | e.g. Emergency Generator
Electrical Narrative / Recommendations
ELEVATOR
Quantity
Manufacturer
Cab
Cab Door
Hall Door
Interlocks
| Type |  | Hydraulic |  | Traction
If Traction:
Cables (Hoist)
Cables (Gov.)
Machine
Controller
Elevator Narrative / Recommendations
FIRE PROTECTION
|  | Description / Location |  |  | Condition
Sprinkler
Fire alarm
Smoke / CO Detectors
Equipment
Other
Fire Protection Narrative / Recommendations
COMPACTOR
|  | Description |  |  | Condition
Compactor
Chute
Hooper Doors
Sprinkler
Compactor Narrative / Recommendations
SECURITY
|  | Description |  |  | Condition
Cameras
Monitors
DVR
Other
Security Narrative / Recommendations
OTHER BUILDING SYSTEMS
|  | Make / Model |  | Condition
Mailboxes
Other
Other Building Systems Narrative / Recommendations
SPECIAL CONSIDERATIONS
Environmental
Toxic Materials
Petroleum Stor.
PCBs
Other
Asbestos Suspected Materials
Unless already tested, assume the presence of asbestos if any window, boiler, facade or roof work is recommended.
Boiler
DHW Heater
DHW Tank
Pipe Covering
Insulation
Floor tile (e.g. 9"x9")
Plaster / gyp board
Roof
Façade
Other
Lead-Based Paint Suspected
Indicate whether the building has been tested for lead. If no testing was previously conducted, assume the presence of lead.
In-Unit
Common Area
Fire Escape
Entryway
Exterior
Other
Hazmats
Environmental Narrative
Accessibility Issues (Section 504 compliant, etc.)
Historic Preservation Issues
Special Flood Hazard Areas

## Inspection - Energy and Water
Instructions / Definitions / Notes
1. | Multi-Building Projects: Show inspection findings on a per building basis
2. | The Energy Assessor (firm or individual qualified to perform the energy/water assessment) should conduct this portion of the IPNA. For qualifications
requirements, see the IPNA Standard.
INSPECTION - ENERGY AND WATER
BUILDING ENVELOPE
|  | Construction Description |  |  |  | Condition
Wall Insulation
Roof Insulation
Insulation Narrative / Recommendations
Windows
|  |  |  | Material |  | Quantity |  | Condition
In-Unit
Common Area
Bulkhead
Window Narrative / Recommendation
APARTMENTS
Kitchen
|  | Make / Model |  |  |  | Condition
Refrigerator
Stove / Range
Dishwasher
Kitchen Appliances Narrative / Recommendations
BUILDING SYSTEMS
Identify shared systems in a project. For complexes with multiple systems, for example one heating system per unit, indicate quantity
of heating systems and address any variations in type or condition.
Heating Generation
| Fuel Type |  | e.g. Gas, Oil, Dual Fuel
| Oil Storage Tanks |  | Size, Location, Condition
| Gas Meter(s) Gas Piping |  | Location, Condition
Boiler/Furnace Efficiency
For buildings that are high energy users (site EUI over 150 kBtu/SF/year), efficiency shall be measured.
In other buildings, efficiency can be an estimate.
|  | Make / Model |  |  |  | Condition
Boiler
Burner
Burner Controls
|  | Type: | Fixed or modulating |  |  |  | Set to: |  | Automatic or manual
Gauges
Pumps
Air Separator
Expansion Tank
Chimney
Other Systems
Heating Generation Narrative / Recommendations
Heating Distribution
| System Distribution |  | e.g. Steam, Hydronic, Forced Air
| Piping Design |  | e.g. Steam: One or Two Pipe Steam, Vacuum - Hydronic: Direct or Reverse Return, etc.
| Operating Control |  | e.g. Heat Timer, Fuel Computer, Other
Condensate Return Tanks
Other Equipment
| In-Unit Heating |  | Type and Condition
| In-Unit Heating Controls |  | Type and Condition
| Piping |  | Material and Condition
| Pipe Insulation |  | Material, thickness, and condition
Steam systems:
|  | TRV's | Yes/No
Valve condition
Type/condition of radiators:
Steam traps
Master venting?
Other:
Heating Distribution Narrative / Recommendations
Cooling
| Type of System | e.g. Electric chller, absorption chiller, room air conditioner, split system, etc.
| System Efficiency |  |  | Unit of efficiency: |  | e.g. EER, SEER, IPLV, etc.
Number of systems
Condition
Cooling Narrative / Recommendations
Domestic Hot Water (DHW)
|  | Make / Model / Ratings | [5 empty] | Condition
Heater
Boiler with Storage Tank
Tankless Coil
Mixing Valve
Recirc. Pumps
Expansion Tank
Domestic Hot Water Narrative / Recommendations
Gas
|  | Description / Location | [5 empty] | Condition
| Meters | Basement, apartments, exterior
Piping
Gas Leaks
Gas Narrative / Recommendations
Other/Advanced Systems (e.g. Combined heat and power, solar thermal, wind power, backup generator, etc.)
Description
Condition
Infiltration
[6 empty] | Size of infiltration openings |  |  |  | Description / location
| Large/measurable infiltration sites |  |  |  |  | (Square Inches)
Open windows
Broken windows
Stairwell vent
Elevator vent
Other
Basement/cellar
Doors
Sill plates
Windows
Vents
Other
| Room air conditioners | [10 empty] | One study estimates 6 square inches per room air conditioner.
Floors of vented attics
Uncapped chases
|  | Attic hatch / walkup stairs | [9 empty] | Evaluate both need for weatherstripping and air leakage around frames
Pipe and wiring penetrations
Around exhaust fans
Around light fixtures
Around chimneys and vents
Around duct penetrations
Along party/firewalls
Other
| Windows | [10 empty] | Evaluate both need for weatherstripping and air leakage around frames
| Doors | [10 empty] | Evaluate both need for weatherstripping and air leakage around frames
Stack effect
|  | Abandoned chimneys / chases | [9 empty] | Evaluate if open at both top and bottom
|  | Pipe penetrations into chases | [9 empty] | Inspect below sinks
Duct riser leakage
|  | Floor-to-floor openings | [9 empty] | For example, pipe penetrations and duct penetrations
Stairwell doors
Openings between building interior and mechanical room, if mechanical room has an operating chimney
Other
Diagnostic Testing Results
Carbon Monoxide Testing
Measure carbon monoxide (CO) of undiluted flue gases for each combustion appliance, in parts per million (ppm).
| Appliance |  | Location |  |  |  | CO Concentration (ppm)
Natural Gas Leaks
| Yes/no | Tested for leaks with a gas detector along the length of visible gas pipes in all common areas.
| Yes/no | Tested for leaks with a gas detector along the length of visible gas pipes in a sample
of apartments, if apartments have gas appliances (minimum three apartments).
| Yes/no | Leaks were detected.
| Yes/no | If yes, the building owner was notified in writing.
Fans
For buildings with systems that operate 24/7 AND in buildings that are high energy users (site EUI over
150 kBtu/SF/year), results shall be measured.
In other buildings, results can be estimates.
For each system:
| System type |  |  | Makeup, exhaust, other
| Area served: |  |  | Kitchen, bathroom, corridor, etc.
Quantity
Location
| Annual hours |  |  | hours/year
| Controls |  |  | eg. Demand control, timer control, manual control, 24/7, VFD, etc.
| Motor capacity |  |  | HP
| Phase |  |  | Single phase, three phase
| Motor Type |  |  | Single speed, variable speed
| Fan Airflow |  |  | CFM
| CFM Data Source |  |  | tested, drawings, manufacturer rating, estimated, other
Register Airflow
| CFM Data Source |  |  | tested, drawings, manufacturer rating, estimated, other
| Fan power |  |  | watts
| Motor efficiency |  |  | %
| NEMA Premium? |  |  | yes/no
| Duct air leakage |  |  | CFM
Condition:
Additional notes:
Building Lighting
| Space | Lamp Watts |  | Lamps per Fixture |  | Number of Fixtures |  | Floor Area (SF) |  | Lighting Power Density (LPD) (Divide total watts by floor area - w/SF) | Lamp Type
| Example: Corridor | 13 |  | 2 |  | 15 |  | 180 |  | 2.1667 | CFL
Moisture Testing
In areas of concern, measure relative humidity. For example, in areas where there is visible mold.
| Room |  | Relative Humidity |  |  |  | Notes
Indoor Air Temperature
Measure a representative set of indoor temperatures, for example including upper floors and lower floors.
| Room |  | Indoor Air Temperature |  |  |  | Thermostat Setpoint (if programmable - note schedule and all setpoints). If no thermostat serving this space, note that.
Water Audit
| Fixture | Number of fixtures | Flow (gpf, gpm)⁰ |  |  |  | Usage (flushes per year for toilets, hours per year for showers and faucets) |  | Savings (gallons/year)
|  |  | Existing |  | Proposed*
| Toilets | [7 empty] | 0
| Showers | [7 empty] | 0
| Kitchen Faucets | [7 empty] | 0
| Bathroom Faucets | [7 empty] | 0
| Total Savings per year | [7 empty] | 0
| Water temperature delivered to fixtures: |  |  |  |  | F
⁰ Gallons per flush (gpf) for toilets, gallons per minute (gpm) for showers and faucets
* See below for values corresponding to the EPA WaterSense program or suggested Better Practice.
Existing water usage and temperature shall be based on measurements.
| Fixture | Guideline
|  | EPA WaterSense | Better Practice
| Toilet | 1.28 gpf | 0.8/1.6 gpf (dual flush)
| Shower | 2.0 gpm | 1.5 gpm
| Kitchen Faucet | No requirements | 1.8 gpm (based on California requirements)
| Bathroom Faucet | 1.5 gpm | .35 gpm

## Energy and Water Use
ENERGY AND WATER USE
Summary of Metering - In Apartment Use
Check all that apply
|  | Tenants Directly Metered* |  | Tenants Sub-Metered by Building Owner |  |  | Tenants Not Directly Metered or Sub-Metered** |  |  | Paid by Owner | Paid by Tenant
Electricity
Gas
*Each tenant has their own rate
**Tenants charged indirectly through rent or other common charges
Summary of Utility Data Anaylsis
Note: If firms are unable to obtain utility data from an owner and tenants in a timely manner, Aggregated Building Consumption Data should be requested from the utility. In NY City, for Con Ed:
| Owner-Paid Electricity Tariff |  |  | Please enter the utility electricity rate under which the owner is billed. This will impact owner savings for energy efficiency measures and the value of distributed generation. The solar calculations are currently only available for NY City. EL2 = small commercial, EL8 = master-metered and EL9 = large commercial
Note:
• If your building is located in NYC and you have benchmarking data that has been submitted to the city for compliance, please use that data.
• These amounts should NOT be normalized for weather- it should be the raw energy data, for example as received from the utility.
• If "Other" is used, edit the Total Site Energy Use equation to add in the "other" fuel, converted into units of kBTU/yr.
|  | Existing Annual Energy Use | [8 empty] | Projected Annual Energy Use
| (All values are total annual values) | Electricity (kwh/yr) | Natural Gas (therms/yr) | Oil #2 (gal/yr) | Oil #4 (gal/yr) | Oil #6 (gal/yr) | District Stream (Mlbs/ yr) | Water (gal/yr) | Other (note units) | Total Site Energy Use (kBTU/yr) | Electricity (kwh/yr) | Natural Gas (therms/yr) | Oil #2 (gal/yr) | Oil #4 (gal/yr) | Oil #6 (gal/yr) | District Stream (Mlbs/ yr) | Water (gal/yr) | Other (note units) | Total Site Energy Use (kBTU/yr) |  | % Reduction
| Owner-Paid Consumption | 16576 | [7 empty] | 56557.312 | [8 empty] | 0 | 0 | 100%
| Aggregated Resident Consumption | [8 empty] | 0 | [8 empty] | 0 | 0 | -
| Whole Building Consumption | 16576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56557.312 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 100%
| Owner-Paid Costs | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -
| Aggregated Resident Cost | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -
| Whole Building Cost | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -
| Bill Start Date | MM/DD/YYYY
| Bill End Date | MM/DD/YYYY
Summary of Benchmarking Metrics
Year benchmarked (full year prior to audit):
| EPA Rating/Score | [8 empty] | kBTU/SF/year
| Heating Index | [8 empty] | Btu/SF/HDD
| Total HDD Used |  |  | HDD
| Weather-Normalized Site EUI | [8 empty] | kBtu/SF/year
| Weather-Normalized Source EUI | [8 empty] | kBtu/SF/year
| Energy Cost Index | [8 empty] | $/SF/year
| Water Consumption Index | [8 empty] | Gal/Bdrm/Day
End Use Cost Allocation
Electricity
|  | Space Heating |  |  | % | [16 empty] | Calculated from electric bills, either as wintertime "bump" in use, or by plotting bills against average outdoor temperature, seeing where the slope "goes flat", establish non-heating use, and then subtracting non-heating use from total to get heating use.
|  | Cooling |  |  | % | [16 empty] | Calculated from electric bills, as summertime "bump" in use.
|  | Lighting |  |  | % | [16 empty] | Estimated from inventory of light fixtures, watts for each, and estimated runtime of each.
|  | Other |  |  | % | [16 empty] | Total minus space heating, cooling, and lighting.
|  |  |  | 0 | % | [16 empty] | Should add up to 100%.
Fuel
|  | Space Heating |  |  | % | [16 empty] | Calculated from fuel bills, either as wintertime "bump" in use, or by plotting bills against average outdoor temperature, seeing where the slope "goes flat", establish non-heating use, and then subtracting non-heating use from total to get heating use.
|  | Hot Water / Other |  |  | % | [16 empty] | Total minus space heating.
|  |  |  | 0 | % | [16 empty] | Should add up to 100%.
Energy Content
|  | Units | kBtu
| Electricity | kwh | 3.412
| Natural gas | therms | 100
| Oil #2 | gals | 139.6
| Oil #4 | gals | 145.1
| Oil #6 | gals | 152.4
| District steam | Mlbs | 1194000
| Propane | gals | 91000

## Scope and Prelim. Cost Est.
General Instructions:
• Include ALL critical and short-term energy-efficiency and water conservation (EEWC) and physical needs items.
• If there are multiple buildings in a project, include a separate table for each building and one summary table for the project.
• Capital items with EEWC incremental items (items that incrementally improve the EEWC of a capital item - i.e. roof insulation when roof replacement
is recommended) should be included as separate line items.
• Provide recommendations for energy efficiency and water conservation measures with associated payback period. Recommendations should include all low-cost measures, such as fixtures,
and deeper retrofit measures, such as on-site renewables, where feasible. The lender will make a determination about financing based on payback period and other factors.
• Include local labor costs in scope item cost estimates.
• Include costs for demolition, permitting, asbestos and lead testing and abatement, and other relevant costs associated with the renovation work.
• EEWC Incremental - Energy-efficiency/water conservation measures that in addition to providing entire or component system replacement also provide energy efficiency benefits.
• EEWC-Only are the energy/water efficiency items that are not associated with items requiring entire or component system replacement. These are recommended solely for supporting a property’s energy efficiency and water conservation needs.
• Include exact, or as accurate as possible, measurements of each item recommended. Items that cannot be quantified can be categorized as Lump Sum (LS).
• When calculating savings projections, include ALL energy and water saving measures, including capital items (i.e. new energy efficient windows).
If an energy or water saving item is not included in the savings projection, providing reasoning in the notes window under the 'Summary of Project Energy and Water Savings' section below
(i.e. new windows will not add to savings because the current windows are already efficient).
SCOPE AND PRELIMINARY COST ESTIMATES
|  |  |  | Capital |  | EEWC Incremental |  | EEWC-Only / Health |  |  | EEWC Calculations |  |  |  | Potential Health Benefit? | Incentives Available
SITE WORK | Critical / Short Term | Unit Type | Qty | Cost Per Unit | Total Cost | Incr. Cost Per Unit | Total EEWC Incr. Cost | Cost Per Unit | Total EEWC-Only Cost | TOTAL COST | SIR | Simple Payback | Projected Annual Energy Savings (kBTU) | Projected Annual Cost Savings ($) | (Y/N) | Incentive #1 | Incentive #2 | Incentive # 3
Concrete paving at carport | Short Term | Each | 1 | 3000 | 3000 |  | 0 |  | 0 | 3000
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
Total - Site Work |  |  |  |  | 3000 |  | 0 |  | 0 | 3000 |  |  | 0 | 0
BUILDING ENVELOPE | Critical / Short Term | Unit Type | Qty | Cost Per Unit | Total Cost | Incr. Cost Per Unit | Total EEWC Incr. Cost | Cost Per Unit | Total EEWC-Only Cost | TOTAL COST | SIR | Simple Payback | Projected Annual Energy Savings (kBTU) | Projected Annual Cost Savings ($) | Potential Health Benefit? (Y/N) | Incentive #1 | Incentive #2 | Incentive # 3
Roof | Short Term | Each | 1600 | 18 | 28800 |  | 0 |  | 0 | 28800
Roof Insulation | Short Term | Each | 1600 |  | 0 | 1 | 1600 |  | 0 | 1600 | 30.04 | 5.33 | 10000 | 1000 |  | Con Ed - Rebate
Solar PV | Short Term | LS | 1 |  |  |  | 0 | 68000 | 68000 | 68000 | 1.03 | 19.38 | 15000 | 3513 |  | NYSERDA-NY Sun | NYC Solar Tax Abatement
0
0
[5 empty] | 0 |  | 0 |  | 0 | 0
Total - Building Envelope |  |  |  |  | 28800 |  | 1600 |  | 68000 | 98400 |  |  | 25000 | 4513
INTERIOR COMMON SPACE | Critical / Short Term | Unit Type | Qty | Cost Per Unit | Total Cost | Incr. Cost Per Unit | Total EEWC Incr. Cost | Cost Per Unit | Total EEWC-Only Cost | TOTAL COST | SIR | Simple Payback | Projected Annual Energy Savings (kBTU) | Projected Annual Cost Savings ($) | Potential Health Benefit? (Y/N) | Incentive #1 | Incentive #2 | Incentive # 3
Convert interior hall lighting to LED | Short Term | Each | 3 |  | 0 |  | 0 | 40 | 120 | 120 | 6.81 | 1.17 | 4000 | 150 |  | Con Ed - Direct Install
[5 empty] | 0 |  | 0 |  |  | 0
[5 empty] | 0 |  | 0 |  |  | 0
[5 empty] | 0 |  | 0 |  |  | 0
[5 empty] | 0 |  | 0 |  |  | 0
[5 empty] | 0 |  | 0 |  |  | 0
Total - Interior Common Space |  |  |  |  | 0 |  | 0 |  | 120 | 120 |  |  | 4000 | 150
APARTMENTS | Critical / Short Term | Unit Type | Qty | Cost Per Unit | Total Cost | Incr. Cost Per Unit | Total EEWC Incr. Cost | Cost Per Unit | Total EEWC-Only Cost | TOTAL COST | SIR | Simple Payback | Projected Annual Energy Savings (kBTU) | Projected Annual Cost Savings ($) | Potential Health Benefit? (Y/N) | Incentive #1 | Incentive #2 | Incentive # 3
Replace bathroom aerators w/ 0.5 GPM aerators | Short Term | Each | 12 |  | 0 |  | 0 | 10 | 120 | 120 | 41.2 | 0.1 | 3000 | 1235
0
0
[5 empty] | 0 |  | 0 |  |  | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
Total - Apartments |  |  |  |  | 0 |  | 0 |  | 120 | 120 |  |  | 3000 | 1235
BUILDING SYSTEMS | Critical / Short Term | Unit Type | Qty | Cost Per Unit | Total Cost | Incr. Cost Per Unit | Total EEWC Incr. Cost | Cost Per Unit | Total EEWC-Only Cost | TOTAL COST | SIR | Simple Payback | Projected Annual Energy Savings (kBTU) | Projected Annual Cost Savings ($) | Potential Health Benefit? (Y/N) | Incentive #1 | Incentive #2 | Incentive # 3
Boiler, HVAC heating, gas fired | Short Term | Each | 1 | 8816 | 8816 |  | 0 |  | 0 | 8816
Incr. cost to replace HVAC heating boilers w/ 95% high efficiency unit | Short Term | Each | 1 |  | 0 | 6395 | 6395 |  | 0 | 6395 | 3.97 | 3.78 | 6000 | 1691 |  | Con Ed - Rebate
Convert from steam to Hydronic | Short Term | Each | 1 |  | 0 | 63000 | 63000 |  | 0 | 63000 | 4 | 15 | 28000 | 2000 |  | Con Ed - Rebate
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
Total - Building Systems |  |  |  |  | 8816 |  | 69395 |  | 0 | 78211 |  |  | 34000 | 3691
ENVIRONMENTAL | Critical / Short Term | Unit Type | Qty | Cost Per Unit | Total Cost | Incr. Cost Per Unit | Total EEWC Incr. Cost | Cost Per Unit | Total EEWC-Only Cost | TOTAL COST | SIR | Simple Payback | Projected Annual Energy Savings (kBTU) | Projected Annual Cost Savings ($) | Potential Health Benefit? (Y/N) | Incentive #1 | Incentive #2 | Incentive # 3
Asbestos testing - roof | Short Term | Each | 1 | 2500 | 2500 |  | 0 |  | 0 | 2500
Asbestos abatement - roof | Short Term | Each | 2500 | 19.2 | 48000 |  |  |  | 0 | 48000
[5 empty] | 0 |  |  |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
Total - Environmental |  |  |  |  | 50500 |  | 0 |  | 0 | 50500 |  |  | 0 | 0
SPECIAL CONSIDERATIONS (Accessibility, Historic Pres, Flood Zones) | Critical / Short Term | Unit Type | Qty | Cost Per Unit | Total Cost | Incr. Cost Per Unit | Total EEWC Incr. Cost | Cost Per Unit | Total EEWC-Only Cost | TOTAL COST | SIR | Simple Payback | Projected Annual Energy Savings (kBTU) | Projected Annual Cost Savings ($) | Potential Health Benefit? (Y/N) | Incentive #1 | Incentive #2 | Incentive # 3
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
Total - Special Considerations |  |  |  |  | 0 |  | 0 |  | 0 | 0 |  |  | 0 | 0
HEALTH / PEST MANAGEMENT | Critical / Short Term | Unit Type | Qty | Cost Per Unit | Total Cost | Incr. Cost Per Unit | Total EEWC Incr. Cost | Cost Per Unit | Total Health Cost | TOTAL COST | SIR | Simple Payback | Projected Annual Energy Savings (kBTU) | Projected Annual Cost Savings ($) | Potential Health Benefit? (Y/N) | Incentive #1 | Incentive #2 | Incentive # 3
Seal gaps in and around kitchen cabinets | Short Term | Each | 12 |  | 0 |  | 0 | 25 | 300 | 300
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 | 0
Total - Health / Pest Management |  |  |  |  | 0 |  | 0 |  | 300 | 300 |  |  | 0 | 0
Total Capital Cost | 91116
Total EEWC Incr. Cost | 70995
Total EEWC-Only Cost | 68240
Total Health Cost | 300
TOTAL COST | 230351
SUMMARY OF PROJECT ENERGY AND WATER SAVINGS
Utility Rates |  |  |  |  | Notes:
Electricity Rate |  | per kWh
Natural Gas Rate |  | per Therm
Oil Rate |  | per kGal
| OWNER PAID | [5 empty] | TENANT PAID | [5 empty] | PROJECT TOTAL
| Total Energy Cost Savings % | Total Annual Energy Savings (kBTU) % | Total Annual Cost Savings ($) | Total Annual Energy Savings (unit of energy) |  |  | Total Energy Cost Savings % | Total Annual Energy Savings % | Total Annual Cost Savings ($) | Total Annual Energy Savings (unit of energy) |  |  | Total Energy Cost Savings % | Total Annual Energy Savings % |  | Total Annual Cost Savings ($) | Total Annual Energy Savings (unit of energy)
Electric |  |  |  | kWh | [5 empty] | kWh | [6 empty] | kWh
Heating |  |  |  | Therm or gal | [5 empty] | Therm or gal | [6 empty] | Therm or gal
Water |  |  |  | gal | [5 empty] | gal | [6 empty] | gal
TOTAL |  |  |  | kBTU | [5 empty] | kBTU | [6 empty] | kBTU

## Solar Summary (NYC)
Solar Financial Summary
Solar electric systems provide electricity bill savings, however they are also eligible for a number of federal, state and local incentives that can significantly improve the payback period and SIR for the building owner(s). The table below includes a summary of the estimated cost, payback period and SIR for a solar energy system on this property based on the data gathered during the IPNA.
Estimated Maximum System Size (kW-DC) | #VALUE! | <- Largest system that could fit on the roof
Max System Size to Offset Owner-Paid Usage (kW-DC) | #VALUE! | <- Recommended system size
Year One Solar Production (kWh) | #VALUE!
Year One Solar Production Equiv (kBTU) | #VALUE!
Year One Utility Bill Savings | #VALUE!
Total Cost Estimate | #VALUE!
NYSUN Incentive | #VALUE!
Upfront Cost Estimate | #VALUE!
Payback Period (No Tax Incentives) | 0 years
Savings-Investment-Ratio (No Tax Incentives) | #VALUE!
Federal Tax Credit* | 0
NYC Property Tax Abatement | #VALUE! | <- Tax abatement is spread over four years
Residential State Income Tax Credit | #VALUE! | <-Co-op/condo only
Residential State Historic Tax Credit | 0 | <- Historic districts only
Depreciation (Federal and State)* | 0
Federal Taxes on State Tax Credit(s) | #VALUE!
Cost After Incentives and Taxes | #VALUE!
Payback Period | 0 years
Savings-Investment-Ratio | #VALUE!
*If building owner not able to benefit from federal tax incentives directly, third-party ownership may allow the owner to benefit from federal tax incentives indirectly.

## Solar PV Calculations (hidden)
Assumptions and Calculations
Solar Energy System and Production |  |  |  | Other Assumptions
Year One Shade-Free Production (kWh/kW-DC) | 1215 |  |  | Residential Federal Income Tax Rate | 25% | <- Used to calculate federal income taxes on state tax credit.
Watts-DC Per Square Foot Usable Roof Area | 10 |  |  | Corporate Federal Income Tax Rate | 34% | <- Used to calculate depreciation value.
|  |  |  | State Income Tax Rate | 7.1% | <- Used to calculate depreciation value.
System Price Estimate |  | <- Update every 6 months |  | Discount Rate for Savings-Investment-Ratio | 3%
0-10 kW-DC Base Price ($/Watt-DC) | 4.5 |  |  | Con Edison Annual Electricity Rate Escalation | 2.5%
11-25 kW-DC Base Price ($/Watt-DC) | 4 |  |  | Annual PV Performance Degradation | 0.5%
26-75 kW-DC Base Price ($/Watt-DC) | 3.5 |  |  | Inverter Replacement Cost ($/Watt-DC) | 0.2 | <- Inverter is replaced in year 15.
76-200 kW-DC Base Price ($/Watt-DC) | 3.25
>200 kW-DC Base Price ($/Watt-DC) | 2.75
Base Price for Simulation ($/Watt-DC) | #VALUE!
Building Height Adder ($/Watt-DC) | 0.25
Building Height Threshold (floors) | 7 | <- Systems on roofs greater than 7 floors will be subject to a height adder
Landmarks Adder ($/Project) | 1500 |  |  | Depreciation Schedules
|  |  |  | Year | Federal Accelerated Depreciation (MACRS) | State Depreciation
Utility Tariff | Solar Energy Value | <- Update every 6 months |  | 1 | 60% | 20%
EL2 | 0.23 |  |  | 2 | 16% | 32%
EL8 | 0.13 |  |  | 3 | 9.6% | 19.2%
EL9 | 0.15 |  |  | 4 | 5.8% | 11.5%
|  |  |  | 5 | 5.8% | 11.5%
Solar Incentives |  |  |  | 6 | 2.9% | 5.8%
NYSUN Rebate ($/Watt-DC) for first 50 kW | 0.7 | <- Update every 6 months
NYSUN Rebate ($/Watt-DC) for 50-150 kW | 0.45 | <- Update every 6 months
Federal Tax Credit | 30%
NY State Residential Tax Credit | 25% | <- Co-ops/condos only, capped at 50 kW
NYC Property Tax Abatement | 20% | <- Capped at $250k
NY State Historic Tax Credit | 20% | <- Historic districts only |  | Federal Depreciation Basis (Full Cost Less 50% of ITC) | 0
|  |  |  | State Depreciation Basis (Full Cost Less State Rebate) | 0
Cost and Incentive Calculations
System Cost | #VALUE!
NYSUN Incentive | #VALUE!
Upfront Cost | #VALUE!
Federal Tax Credit | 0
Depreciation Value (Federal and State) | 0
NY State Residential Tax Credit | #VALUE!
NY Historic Tax Credit | 0
NYC Property Tax Abatement | #VALUE!
Federal Taxes on State Tax Credits | #VALUE!
Net Cost After Incentives and Taxes | #VALUE!
25 Year Cashflow | [14 empty] | NO TAX INCENTIVES
Year | Solar Energy Production (kWh) | Electricity Rate ($/kWh) | Avoided Electricity Cost | Upfront System Cost | Inverter Replacement | Federal Tax Credit | Property Tax Abatement | NYS Tax Credit | NYS Historic Tax Credit | Federal Accelerated Depreciation | State Depreciation | Federal Taxes on State Tax Credits | Balance | Annual Net Savings for SIR | Balance (No Tax Incentives) | Annual Net Savings (No Tax Incentives)
0 |  |  |  | #VALUE! | [8 empty] | #VALUE! |  | #VALUE!
1 | #VALUE! | #VALUE! | #VALUE! |  |  | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
2 | #VALUE! | #VALUE! | #VALUE! |  |  |  | #VALUE! |  |  | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
3 | #VALUE! | #VALUE! | #VALUE! |  |  |  | #VALUE! |  |  | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
4 | #VALUE! | #VALUE! | #VALUE! |  |  |  | #VALUE! |  |  | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
5 | #VALUE! | #VALUE! | #VALUE! | [6 empty] | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
6 | #VALUE! | #VALUE! | #VALUE! | [6 empty] | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
7 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
8 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
9 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
10 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
11 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
12 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
13 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
14 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
15 | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | [7 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
16 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
17 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
18 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
19 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
20 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
21 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
22 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
23 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
24 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
25 | #VALUE! | #VALUE! | #VALUE! | [9 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## Replacement Cost Schedule
Instructions / Definitions / Notes
1. | Include ALL critical, short term, and long term capital needs and EEWC items
2. | If there are multiple buildings in a project, include a separate table for each building and one summary table for the project
3. | Fannie Mae estimated useful life tables may be used, but should be adjusted based on the Needs Assessor's observations of the building component.
https://www.fanniemae.com/content/guide_form/4099f.pdf
4. | EUL - estimated useful life
5. | RUL - remaining useful life
6. | Include exact, or as accurate as possible, measurements of each item recommended. Items that cannot be quantified can be categorized as Lump Sum (LS).
7. | Analyze and project the estimated useful life of building components, the cost per unit, and an estimate of annual replacement expenditures for a fifteen (15) year period. Note: Y1 is year 1, Y2 is year 2, etc.
8. | The costs outlined in the replacement schedule should be total costs for each scope item, inclusive of all critical, short-term and long-term capital, EEWC incremental items, and EEWC-only items.
9. | Estimate the costs in current dollars, and then escalate by the factor below the year (for example, multiply current cost by 1.03 it is expected to happen in year 2.)
REPLACEMENT COST SCHEDULE
| Scope Item | Description of Work | EUL | Age | RUL | Unit Type | Qty. | Cost Per Unit | Critical Costs | Short Term Costs | Y1 | Y2 | Y3 | Y4 | Y5 | Y6 | Y7 | Y8 | Y9 | Y10 | Y11 | Y12 | Y13 | Y14 | Y15 | Total Long Term
[11 empty] | 1 | 1.03 | 1.06 | 1.09 | 1.12 | 1.15 | 1.18 | 1.21 | 1.24 | 1.27 | 1.3 | 1.33 | 1.36 | 1.39 | 1.42
Site
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
Building Envelope
| Windows | Remove and replace all existing windows | 30 | 28 | 2 | Each | 30 | 650 |  | 19500 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
Interior Common Space
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
Apartments
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
Building Systems
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
| scope of work proposed, include a cost for clearing the violation. | [8 empty] | 0 | [15 empty] | 0
Environmental
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
[10 empty] | 0 | [15 empty] | 0
| Total - Uninflated | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total - Inflated | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Operation and Maintenance
Instructions / Definitions / Notes
1. Provide a description of any recommended measures that can be made through improved maintenance and operations, including janitorial processes and products, maintenance best practices, and integrated pest management.
2. The IPNA is intended to be used statewide in NY State. References to NY City (NYC) requirements do not preclude its use outside of NY City.
OPERATION AND MAINTENANCE MEASURES
Heating and Cooling
Appliances
Lighting (e.g. missing lamps, automatic controls working correctly)
Existing Maintenance, Operating, and Janitorial Practices, Products, and Outcomes
Water conservation - leak inspection
Recycling / Waste Management
Health
Intervention- O&M | Applies to This Building (Enter Y if Yes) | Why Do It | Frequency | Impact / Cost | Relevant NYC Code and Resources | Enterprise Green Communities Criteria
Air Quality and Ventilation
Inspect fans, fix and clean vents/ventilation ducts, replace filters. Set regular inspection schedule. |  | Asthma & respiratory risks | Annual, Filters every 6 mos. | High impact, low cost | §[C26-1205.1] 27-745 Occupiable rooms. All occupiable rooms shall be ventilated by natural or mechanical means, or by a combination of both. Natural ventilation may be provided except where mechanical ventilation is required by article seven or eight of this subchapter. | 5.1a Building Performance Standard 5.3 Sizing of Heating and Cooling Equipment 6.10 Asthmagen-Free Materials 7.1 Ventilation 7.2 Clothes dryer exhaust 7.3 Combustion Equipment
Educate tenants about ways to improve ventilation and about reporting fans that don’t work and windows that don't open. |  | Asthma & respiratory risks | Lease up & annual | High Impact, low cost
Educate tenants about identifying and reporting problems with central heating/cooling. |  | General health; energy efficiency | Lease up & annual | High Impact, Low cost
Ensure regular cleaning of dryers to improve functionality and to reduce fire hazards. |  | Respiratory risks & fire hazards | Annual | High Impact, low cost
Ensure proper venting of dryers. |  | Respiratory risks & moisture control | Annual | Medium Impact, High Cost
Evaluate boiler to ensure proper combustion safety to ensure proper combustion safety and to efficiently manage temperature. |  |  |  | Low Impact, Low cost
Prohibit smoking within units and within 20ft of building. Incorporate no smoking provisons in lease. Note |  | Asthma and cancer risks | One time change | High Impact, Low Cost | https://www1.nyc.gov/site/doh/health/health-topics/smoking-smoke-free-housing.page
Moisture
Clean mold, eliminate water leaks, clean surfaces and replace surfaces as needed. Fix drainage as needed. |  | Asthma & respiratory risks; moisture control | As needed | High impact, low cost | http://www1.nyc.gov/site/doh/health/health-topics/air-quality-indoor-moisture.page | 4.3 Leaks and Water Metering 6.7a,b Environmentally Preferable Flooring: 6.8 Mold Prevention: Surfaces 6.9 Mold Prevention: Tub and Shower Enclosures 7.5 Vapor Retarder Strategies 7.7 Mold Prevention: Water Heaters
Educate tenants about importance of and ways to report leaks (running toilets, leaking radiators, dripping faucets, moisture problems, and mold issues in the building. |  | Asthma & respiratory risks; moisture control | Lease up & annual | High Impact, Low cost
Moisture control; energy efficiency
Replace or place entry door weatherstripping and doorsweeps. |  | Moisture control; energy efficiency |  | Medium Impact, Low Cost
Pests
Seal holes and cracks, including around plumbing and utility openings and foundation. Install door sweeps to prevent pest entry. Use pest resistant materials during repairs. Accompany pest management professional during each service visit to identify areas in need or repair. Train staff to monitor pest prone places for conditions conducive to pests. Adopt the use of reduced risk pesticides building wide. Review pest proofing tips for building owners, managers and staff in NYC DOHMH IPM Toolkit. |  | Asthma risks, pest control | Rehab, unit turnover, annual inspections | High impact, low cost | NYC Integrated Pest Management Tool Kit http://www.nyc.gov/html/doh/downloads/pdf/pesticide/ipm-toolkit.pdf | 7.10 Integrated Pest Management
Educate residents on how to minimize food and water sources for pests; identify and report openings for repair; on the use of reduced risk pesticides (gel bait, baitstations). Educate management on implemention of a building-wide Integrated Pest Management (IPM) protocol. |  | Asthma risks, pest control | Lease up & annual | High Impact, Low Cost
Adopt an integrated pest management scope of work |  | Asthma risks, pest control | Pest contract | High impact, Low Cost | NYCDOHMH Toolkit
Ensure garbage room is properly maintained through maintenance and ensure waste storage capacity meets the needs of the building |  | Asthma risks, pest control | 6 months | Medium Impact, Low Cost
Hazardous Materials and Conditions
3.1 Environmental Remediation 5.4 ENERGY STAR Appliances 6.1 Low / No VOC Paints, Coatings and Primers 6.2 Low / No VOC Adhesives and Sealants 6.6 Composite Woods Products that Emit low/No Formaldehyde 6.7 Environmentally Preferable Flooring 6.10 Asthmagen-Free materials 7.1 Ventilation 7.3 Combustion Equipment 7.8 Radon Mitigation 7.15 Reduce Lead Hazards 7.16 Smoke-Free Building 8.3 Resident Manual 8.4 Resident and Property Staff Orientation
Institute an off gassing period for units before occupancy after rehabilitation, especially after carpeting, painting, and floor work |  | Respiratory and other health risks | Post rehab | High impact, low cost | NYC Local Law 2 (2012) - VOC Emissions Limits in Carpets and Carpet Cushions: https://www1.nyc.gov/site/doh/health/health-topics/air-quality-vocs-and-carpeting-what-consumers-and-the-public-should-know.page and https://www1.nyc.gov/assets/buildings/local_laws/ll2of2012.pdf Floor Refinishing and Moisture-Cure Urethanes: https://www1.nyc.gov/site/doh/health/health-topics/floor-refinishing.page
Ensure carbon monoxide (CO) detectors are installed pursuant to code. Mitigate sources of CO build-up, i.e. backdrafting, unventilated heaters, or other combustion effects. Educate tenants to report if their CO detector is going off. |  | CO poisoning risks | Annual inspection; Lease up | Med-Hi Impact, Low Cost | http://www1.nyc.gov/site/hpd/owners/Smoke-carbon-monoxide-detectors.page
Use green products in cleaning, rehab, repairs, painting. Use low-/no-volatile organic compounds (VOCs), low/no formaldehyde in cleaning products, paint, sealants, adhesives, building materials. |  | Respiratory and other health risks | Ongoing | Medium Impact, Low Cost | http://programs.lisc.org/NYC/Images/Two_Shades_of_Green_-_Green_Cleaning_Toolkit.pdf; Greenseal; Greenshield; EPA Safer Choice; EPA Formaldehyde emissions standards for composite wood products: https://www.epa.gov/formaldehyde/formaldehyde-emission-standards-composite-wood-products
Seal and clean ventilation ducts, can be HVAC or maintenance staff |  | Respiratory and other health risks | Rehab, energy projects | Medium Impact, Medium Cost
Use no-VOC and no-formaldehyde paint, adhesives, sealants, cleaners, and products |  |  |  | Medium Impact, Medium Cost | EPA Formaldehyde emissions standards for composite wood products: https://www.epa.gov/formaldehyde/formaldehyde-emission-standards-composite-wood-products
Lead: In buildings constructed prior to 1978 (or 1960 in NYC), ensure that lead-safe renovation practices are utilized for any repairs that could disturb lead-based paint. Have building maintenance staff trained and certified in EPA Renovation, Repair and Painting (RRP). |  | Neurolo-gical damage. | Rehab, annually for units occupied by young children |  | In NYC, Local Law 1 of 2004 (the Lead Paint Law) requires owners to annually inspect units occupied by children under the age of six, to identify and fix lead paint hazards.
Active Design Opportunities to Encourage Physical Activity
Ensure indoor and outdoor areas are well lit |  | Encourage physical activity | Rehab, ongoing | Med-hi impact, low cost |  | 3.4 Landscaping 5.5 Lighting 7.12,13 Active Design 7.14 Interior and Outdoor Activity Spaces for Children and Adults 8 2.9 Improving Connectivity to the Community 8.1 Building Operations & Maintenance (O&M) Manual and Plan
Ensure stairs are attractive option over elevators - located close to the entrance and well-lit (with daylight if possible); stair prompt signage |  | Encourage physical activity | Ongoing | Low Impact, High Cost | Stair prompt sign: www1.nyc.gov/assets/doh/downloads/pdf/tcny/takethestairs.pdf or call 311 to order signs in English or Spanish NYC Active Design Guidelines - http://www1.nyc.gov/assets/doh/downloads/pdf/environmental/active-design-guidelines.pdf Center for Active Design Guidelines: https://centerforactivedesign.org/dl/guidelines.pdf
Fall/Trip/Fire Hazard
Install hand held and adjustable shower heads |  | Reduce trip and fall risks | Annual inspection | Medium impact, Low cost |  | 5.5 Lighting 7.11a,b Beyond ADA: Universal Design 7.12, 13 Active Design 8.1 Building Operations & Maintenance (O&M) Manual and Plan
Install slip-resistant adhesive in dark or contrasting color at the edge of each stair |  | Reduce trip and fall risks | Annual inspection | Medium Impact, Low Cost

## Quality Assurance
This tab is for the energy assessors to self-check that energy and water savings are reasonable,
and for needs assessors to plan for quality assurance during implementation/construction.
QUALITY ASSURANCE AND VERIFICATION
ENERGY AND WATER SAVINGS CHECK
Improvement Description | Energy or Water Cost Savings ($/year) | As % of Total Energy or Water Costs (%) | As % of Heating, Cooling, DHW, Lighting, Other Costs | Reasonable? (Yes/No)
Example: High-efficiency boiler | 3000 | 4% of total energy | 10% of heating | Yes | For energy and water improvements, assess if savings are a reasonable portion of allocated energy costs.
In the example shown, a boiler is being replaced, perhaps raising its efficiency from 80% to 90%. So the savings should not represent more than 10% of the heating costs, and should represent even less than 10% of the total energy costs in the building.
QUALITY DURING CONSTRUCTION
Write a description of steps that the developer can take during construction to ensure quality.
What inspections are recommended? What documentation is recommended?
For example: "Contractor shall provide photos of the depth of roof insulation.
Contractor shall notify owner's representative before roof insulation is covered, for inspection prior to
installation of roof membrane."

## Photos
Document typical conditions present, with a focus on physical deficiencies. Include front and typical elevations and exteriors, site work, parking areas, roofing, structural systems, plumbing, HVAC and electrical systems, conveyance systems, life safety systems, representative interiors, and any special or unusual conditions present (per ASTM E2018).
This tab is primarily a reminder to include photos. Photos do not necessarily need to be inserted
in this tab, and can be handled separately, such as in Adobe acrobat with a final PDF report.
PHOTOS

## Healthy Rehab Interventions
Instructions / Definitions / Notes
1. The IPNA is intended to be used statewide in NY State. References to NY City (NYC) requirements do not preclude its use outside of NY City.
HEALTHY REHAB INTERVENTIONS
Intervention- Rehab | Impact / Potential Cost | Relevant NYC Code and Resources | Enterprise Green Communities Criteria
Air Contaminants or Allergens From Indoor Sources
6.1 & 6.2 Low / No VOC Adhesives and Sealants 6.7 Environmentally Preferrable Flooring 6.10 Asthmagen-Free Materials 7.1 Ventilation 7.2 Clothes dryer exhaust 7.3 Combustion Equipment 7.7 Mold Prevention: Water Heaters
Vent combustion appliances (boilers, hot water heater, stove top) | Med-Hi Impact, Variable Cost
Remove carpet; make floors smooth and cleanable | Medium Impact, Variable cost
Replace gas stoves with electric | Medium Impact, High Cost
New building materials meet green and health standards (VOC, formaldehyde) | Medium Impact, Low Cost | http://living-future.org/redlist
Repair/replace roof top fans, and seal duct work | Medium Impact, Med-Hi Cost
Install constant airflow regulators w/ continuous exhausts | Medium Impact, Variable cost | Cost decreases with scale
Air Contaminants or Allergens From Outdoor Sources
Install enhanced air filtration in building ventilation/HVAC | High impact, medium cost
Locate exterior intake grilles to minimize intake of contaminants | Med-Hi Impact, Variable Cost
Moisture
Repair leaks, structural issues, water damage, radiator valves, drainage | Med-Hi Impact, Variable Cost | NYC Mold Guidelines - http://www1.nyc.gov/assets/doh/downloads/pdf/epi/epi-mold-guidelines.pdf EPA Mold/Moisture Guide - https://www.epa.gov/sites/production/files/2016-10/documents/moldguide12.pdf | 4.3 Leaks and Water Metering 6.7a,b Environmentally Preferable Flooring: 6.8 Mold Prevention: Surfaces 6.9 Mold Prevention: Tub and Shower Enclosures 7.1 Ventilation 7.2 Clother Dryer Exhaust 7.5 Vapor Retarder Strategies 7.7 Mold Prevention: Water Heaters
Repair/install ventilation/fans (bathroom, kitchen, dryer) | Medium Impact, Med-Hi Cost
Replace carpet with smooth flooring in wet areas (bath, kitchen); meet Enterprise Green Criteria standards | Medium Impact, Medium Cost
Steam leaks elimination- change radiator valve. | Medium Impact, Med-Hi Cost
Bath: Minimize moisture hold materials (tub surround, particle board vanity) | Medium Impact, Variable cost | NYC LL13 (2014) - Requires the use of mold-resistant materials in moisture-prone locations: https://www1.nyc.gov/assets/buildings/local_laws/ll13of2014.pdf
Pests
Pest proof exterior doorways. Install doorsweeps and pest resistant door brushes to all exterior doors and waste storage areas. Ensure entryway thresholds are sealed properly. | High-impact, Low Cost | NYC DOHMH IPM Toolkit, Pest Prevention By Design Guidelines | 7.10 Integrated Pest Management
Prevent pest access from sub-areas into living areas through exclusion and the use of pest resistant materials | High Impact, Low Cost | NYC DOHMH IPM Toolkit, Pest Prevention By Design Guidelines | 7.10 Integrated Pest Management
Seal all joint penetrations with low VOC caulk. | High Impact, Low cost | NYC DOHMH IPM Toolkit, Pest Prevention By Design Guidelines | 7.10 Integrated Pest Management
Pest proof units and common areas using guidelines presented in the NYC DOHMH IPM Toolkit “Pest Proofing Tips for Owners and Staff” | High impact, medium cost | NYC DOHMH IPM Toolkit, Pest Prevention By Design Guidelines | 7.10 Integrated Pest Management
Properly install all unit fixtures, including kitchen cabinetry, radiators, sinks, and flooring to prevent pest access and harborage into and through units. Provide QA on unit interiors to guarantee pest prevention. | High Impact, Low cost | NYC DOHMH IPM Toolkit, Pest Prevention By Design Guidelines | 7.10 Integrated Pest Management
Seal utility lines entering apartments to prevent pest access into and through units | High Impact, Low cost | NYC DOHMH IPM Toolkit, Pest Prevention By Design Guidelines | 7.10 Integrated Pest Management
Ensure building has enough storage capacity for waste generated by the building and the means to clean waste storage areas. Renovate waste storage areas to improve capacity and improve waste storage sanitation. | High Impact, Medium-Hi Cost | NYC DOHMH IPM Toolkit, Pest Prevention By Design Guidelines | 7.10 Integrated Pest Management
Use durable pest resistant materials for all renovation work. | High Impact, Medium Cost | NYC DOHMH IPM Toolkit, Pest Prevention By Design Guidelines | 7.10 Integrated Pest Management
Hazardous Materials
Hire lead-paint professional to abate or implement lead hazard control measures. For NYC, see Local Law 1 (2004) for building owner requirements. | High Impact, Med-Hi Cost | http://www1.nyc.gov/site/hpd/owners/Lead-Based-Paint.page | 7.15 Reduce Lead Hazards
Hire asbestos specialists to inspect, test and remove any asbestos in non intact condition or that may be disrupted during other rehab work. | Medium Impact, High Cost | http://www.nyc.gov/html/fdny/pdf/cda/atru_guidance_document_final.pdf
Repair /install carbon monoxide alarms | High Impact, Low Cost per Unit | http://www1.nyc.gov/site/hpd/owners/Smoke-carbon-monoxide-detectors.page
Active Design to Encourage Physical Activity; Healthy Living
Stairways: impmrove lighting, access, appeal, safety | Medium Impact, Low Cost | NYC Active Design Guidelines - http://www1.nyc.gov/assets/doh/downloads/pdf/environmental/active-design-guidelines.pdf Center for Active Design Guidelines: https://centerforactivedesign.org/dl/guidelines.pdf | 3.4 Landscaping 5.5 Lighting 7.12,13 Active Design 7.14 Interior and Outdoor Activity Spaces for Children and Adults 8 2.9 Improving Connectivity to the Community 8.1 Building Operations & Maintenance (O&M) Manual and Plan
Create added indoor and exterior play areas, exterior gardens | Med-Hi Impact, Med-Hi Cost | NYC Active Design Guidelines - http://www1.nyc.gov/assets/doh/downloads/pdf/environmental/active-design-guidelines.pdf Center for Active Design Guidelines: https://centerforactivedesign.org/dl/guidelines.pdf
Improve daylighting | Low impact, Variable Cost | NYC Active Design Guidelines - http://www1.nyc.gov/assets/doh/downloads/pdf/environmental/active-design-guidelines.pdf Center for Active Design Guidelines: https://centerforactivedesign.org/dl/guidelines.pdf
Add vegetation to landscaping plans | Low impact, low cost | NYC Active Design Guidelines - http://www1.nyc.gov/assets/doh/downloads/pdf/environmental/active-design-guidelines.pdf Center for Active Design Guidelines: https://centerforactivedesign.org/dl/guidelines.pdf
Provide secure, ground-floor parking areas for bicycles | Low impact, low cost | NYC Active Design Guidelines - http://www1.nyc.gov/assets/doh/downloads/pdf/environmental/active-design-guidelines.pdf Center for Active Design Guidelines: https://centerforactivedesign.org/dl/guidelines.pdf
Fall/Trip/Fire Hazard
Install dual stiarway handrails; slip resistant stairs | High impact, medium cost |  | 5.5 Lighting 7.11a,b Beyond ADA: Universal Design 7.12, 13 Active Design 8.1 Building Operations & Maintenance (O&M) Manual and Plan
Repair faulty wiring | High impact, medium cost
Incorporate age-friendly elements in ground floor units, i.e. accessible walk-in showers with no threshold or compressible rubber threshold; wider doorways; grab bars at tubs, showers and toilets | High impact, high cost | NYC Aging in Place Guide for Building Owners - http://www.nyc.gov/html/dfta/downloads/pdf/publications/AIPGuide2016.pdf
Ensure light switches are located close to room entrances and outlets are placed at accessible height; occupancy sensor bath light | Medium impact, low cost
Install reinforcements for potential future grab bar installation in bathroom walls. Grab bars must be securely anchored to wall studs or masonry. | Medium impact, medium cost
Temperature-controlled water faucets | Low impact, low cost

## Health Questionnaire
HEALTH QUESTIONNAIRE
This section is optional and is provided for background purposes
Common Areas (Interior Focus, Some exterior)
Air Quality/Ventilation
Adequate/functional mechanical ventilation in laundry?
Are dryers vented properly to the outside?
Exterior fans, vents working and not near air pollution sources (heavy traffic, combustion)?
Exhaust or central fans function properly?
Combustion equipment properly vented to outside?
Exterior intake grilles located to minimize outdoor contaminant sources (vehicle idling, other combustion)?
HVAC filtration maintained and sufficient?
Pests
Evidence of rodents (droppings, chew marks, sightings)?
Evidence of cockroaches (body parts, frass, live roaches)?
Evidence of the use of rodenticide in interior areas? Is rodenticide containerized or not?
Evidence of the use of spray pesticides during regular pest management services?
Evidence of reduced risk pesticides (gel baits, cockroach bait stations)?
Trash accumulation on trash chute?
Moisture
Evidence of significant moisture or possible mold?
Evidence of water leaks or damage?
Ground water seepage?
Signs of sewage backup?
Sump pump present and functional?
Wet/moisture problems with carpet
Fluid leaks (e.g. oils, lubricants, antifreeze, etc.)
Allergens or Hazardous Materials
Lead: Flaking, chipping, peeling paint (pre-1978 bldgs)?
Asbestos: Potential absestos?
Carpet in wet or heavy use areas?
Fall/TripHazards
Sufficient/dual handrails, slip resistent stairs?
Sufficient stairway lighting?
Encourage health and wellness/physical activity/safety
Stairways good lighting , accessible, appealing, safe?
Bike storage?
Exterior areas that could be used for resident space (garden, play equipment, etc)
Other underutlized building spaces that could be used for resident programs/projects?
Apartments
Air Quality/Ventilation
Sufficient ventilation: operable windows or mechancial system?
Exhaust fan in bathroom?
Does bath fan work?
Is there fan dust needing cleaning?
Exhaust grille (central syst.) in bathroom, with sufficient air flow?
Stove type (Gas/Elec)
Operable kitchen fan above range?
Does the kitchen fan exhaust outside?
Exhuast grille (central syst.) in kitchen functions or needs repairs?
CO alarms work?
Pests
Evidence of cockroaches, other insects?
Evidence of rodents or rats?
Is exterior door undercut large enough for vermin?
Pipe or other penetrations sealed?
Pest exclusion/entry issues?
Entry door b\bottom (Sweep/Auto/N)
Door jamb w-strip?
Moisture
Dehumidifier present and in use?
Dehumidifier properly maintained?
Water damage or current moisture issue, possible mold?
Floor?
Ceiling?
Interior wall?
Exterior wall?
Significant moisture or possible mold present on walls/ceiling above tub surround?
H2O damage @ plumbing (e.g. tub, sink, shower)?
Significant moisture or possible mold on shower walls/tiles/ceiling?
Significant moisture issues or possible mold under bathroom sink?
Plumbing pipe penetrations under bathroom sink sealed?
H20/leak damage on floor (esp. at toilet flange)?
Wet/moisture problems with carpet?
Dryers vented to exterior ?
Radiator valve leaks?
Indoor Air Contamiants, Allergens, or Hazardous Materials
Visual evidence of tobacco smoke?
Lead: Peeling, chipping, flaking paint, pre 1978 bldg?
Flooring: moisture or allergen risks , rated condition (good, poor, replace due to age or condition)?
Carpet in wet areas or heavy use?
Trip/fall hazards
Senior units baths (walk in shower, higher toilets, grab bars, lighting on sensor)?
Sufficient lighting?

## NYC Local Law 87
Instructions / Definitions / Notes
1. The IPNA is intended to be used statewide in NY State. References to NY City (NYC) requirements do not preclude its use outside of NY City.
NEW YORK CITY LOCAL LAW 87
This section is provided for background purposes only.
Local Law 87 in New York City requires energy audits and retrocommissioning every 10 years.
The general requirement for the level of energy audit (ASHRAE Level II) is the same for this
IPNA as for New York City's Local Law 87 (LL87). Local Law 87 applies to buildings over
50,000 square feet.
Professional qualifications required to perform a LL87 energy audit are the same as those
required to perform the energy/water portion of the IPNA, with the exception that
the IPNA allows AEE's CMVP certification, whereas LL87 does not.
Important note: While the requirements and qualifications are similar, LL87 does
require some data that is not required by the IPNA. So if you are planning to use the IPNA
for a LL87 energy audit, please be sure to obtain the added LL87 data when you do your
field visit.
Also, the IPNA has some different requirements as the LL87 audit, such as requiring that
30% energy savings be identified, and some different data that is not required in LL87.
So please be aware that a LL87 energy audit will not be sufficient to meet all the
requirements for the IPNA.
For more information on LL87:
http://www.nyc.gov/html/gbee/html/plan/ll87.shtml